| Version | Date | Description of Revisions |
| --- | --- | --- |
| 1 | March 21, 2016 | New Specification |
| 2 | May 1, 2017 | Revised to reflect OPSS.MUNI 517 (Apr 2017) and OPSS.MUNI 518 (Apr 2017) |

NOTE:

This is a CONTROLLED Document. Any documents appearing in paper form are not controlled and should be checked against the on-line file version prior to use.

Notice: This Document hardcopy must be used for reference purpose only.

The on-line copy is the current version of the document.

GEneral

Summary

This Section includes the general requirements for the retention of a specialty subcontractor who shall perform dewatering in accordance with Permission To Take Water (PTTW) conditions.

Related Sections

    - [Under "Related Sections", identify other Sections that are related to, and/or dependent on, the work results or information specified elsewhere.  The list should be limited to Sections with specific information that the reader might expect to find in this Section, but is specified elsewhere.  For example, if hardware for aluminum entrances is specified in the aluminum entrance Section, a cross-reference would be appropriate in the finish hardware Section.  The purpose of this cross-referencing is for information only, to aid in finding those other requirements—not to define the scope of the Section.

    - Cross-referencing here may also be used to coordinate assemblies or systems whose components may span multiple Sections and which must meet certain performance requirements as an assembly or system.

    - This Section is to be completed/updated during the design development by the Consultant. If it is not applicable to the section for the specific project it may be deleted.]

    - [List Sections specifying installation of products supplied but not installed under this Section and indicate specific items.]

Section [______ – ____________]:  Execution requirements for [[item]...  specified under this Section.

    - [List Sections specifying products installed but not supplied under this Section and indicate specific items.]

Section [______ – ____________]:  Product requirements for ...[item]...  for installation under this Section.

    - [List Sections specifying related requirements.]

Section [______ – ____________]:  [Optional short phrase indicating relationship].

Section 01060 –  Regulatory Requirements

Section 01300 –  Submittals

Section 01561 –  Environmental  Protection

Section 02230 –  Site Preparation for Pipelines, Utilities and Associated Structures

Section 02240 –  Dewatering- General

Section 02241 –  Provide Water Control Plan, Dewatering, Discharge Plan and Groundwater Monitoring Program

Section 02242 –  Supply Install and Subsequently Remove Dewatering System

Section 02243 –  Operate and Maintain Dewatering System

Section 02244 –  Retain Specialty Subcontractor To Monitor Groundwater Levels And Discharge Water Quality In Accordance With PTTW

Section 02246 –  Bypass Pumping or Fluming and Unwatering

Section 02314 – Tunnelling

Section 02315 – Trenching, Backfilling and Compacting

References

Ontario Ministry of the Environment and Climate Change website

http://www.ontario.ca/page/permits-take-water

Ontario Provincial Standards for Roads and Public Works (OPSS)

OPSS 492 (November 2010) Site Restoration Following Installation Of Pipelines, Utilities And Associated Structures

OPSS.MUNI 517 (Apr 2017) Dewatering of Pipeline, Utility and Associated Structure Excavation

OPSS.MUNI 518 (Apr 2017) Control of Water From Dewatering Operations

Ontario Water Resources Act R.S.O. 1990 c. O.40

O. Reg. 387/04 Water Taking and Transfer R.R.O. 1990, Reg. 903: Wells

Regional Municipality of York

Bylaw 2014-23 Discharge of Sewage, Storm Water and Land Drainage Bylaw (Amended 2014)

Measurement and Payment

[Choose one of the following payment language provisions that best suits the individual project.

If this Section is not specifically referenced by an item in the Bid Form, please use the following language:

    - 1.	The work of this Section will not be measured separately for payment.  All costs associated with the work of this Section shall be included in the Contract Price.

OR If this Section is specifically referenced in the Bid Form, use the following language and identify the relevant item in the Bid Form:

All costs associated with the work of this Section shall be included in the price(s) for Item No(s). ___ in the Bid Form.

If the work of this Section is to be measured and paid for by several different methods, please amend the standard wording given above to reflect the different methods of measurement and payment.]

PRODUCTS (Not Used)

EXECUTION

General

The Contractor shall perform restoration works associated with dewatering activities (including but not limited to, removal and disposal of dewatering and decommissioning of monitoring wells, placing topsoil, sod, asphalt as required) to restore the Site to its pre-construction condition or better.

Payment for the work of this Section under Item No. [   ] of the Bid Form shall be paid in accordance with the percentage of work under this Section that has been completed as estimated by the Consultant in its sole discretion.

END OF SECTION