| Version | Date | Description of Revisions |
| --- | --- | --- |
| 1 | March 21, 2016 | New Specification based on OPSS.MUNI 539 (AAM) |
| 2 | February 21, 2017 | Addition of Subsection 1.4 which highlights Contractor responsibilities under the Ontario Underground Infrastructure Notification System Act, 2012 (AV) |

NOTE:

This is a CONTROLLED Document. Any documents appearing in paper form are not controlled and should be checked against the on-line file version prior to use.

Notice: This Document hardcopy must be used for reference purpose only.

The on-line copy is the current version of the document.

# GEneral

## Summary

### This specification covers the requirements for supplying, placing, maintaining, and removing support systems required to permit the excavation and backfilling of trenches or excavations for the installation of sanitary and storm pipe sewers, pipe culverts and end sections, forcemains and associated appurtenances, watermains and associated appurtenances, and other underground Utilities; maintenance holes, catch basins, ditch inlets, and valve chambers; and any other specified subsurface construction.

## Related Sections

#### [Under "Related Sections", identify other Sections that are related to, and/or dependent on, the work results or information specified elsewhere.  The list should be limited to Sections with specific information that the reader might expect to find in this Section, but is specified elsewhere.  For example, if hardware for aluminum entrances is specified in the aluminum entrance Section, a cross-reference would be appropriate in the finish hardware Section.  The purpose of this cross-referencing is for information only, to aid in finding those other requirements—not to define the scope of the Section.

#### Cross-referencing here may also be used to coordinate assemblies or systems whose components may span multiple Sections and which must meet certain performance requirements as an assembly or system.

#### Contractor is responsible for coordination of the Work.

#### This Section is to be completed/updated during the design development by the Consultant. If it is not applicable to the section for the specific project it may be deleted.]

#### [List Sections specifying installation of products supplied but not installed under this Section and indicate specific items.]

### .1	Section [______ – ____________]:  Execution requirements for ...[item]...  specified under this Section.

### [List Sections specifying products installed but not supplied under this Section and indicate specific items.]

### .2	Section [______ – ____________]:  Product requirements for ...[item]...  for installation under this Section.

### [List Sections specifying related requirements.]

### .3	Section [______ – ____________]:  [Optional short phrase indicating relationship].

#### Division 1 – General Requirements

#### Section 02240 – Dewatering

## References

#### Ontario Underground Infrastructure Notification System Act, 2012

#### Ontario Provincial Standards for Roads and Public Works (OPSS)

#### OPSS.MUNI 539 Temporary Protection Systems (Nov 2014)

#### Occupational Health and Safety Act, R.S.O. 1990, c.O.1, as amended

#### Ontario Regulation 213/91, Construction Projects, as amended

## Locates

### The Contractor shall be deemed an “excavator” under the Ontario Underground Infrastructure Notification System Act, 2012, and shall comply with all applicable requirements of the Act.  The Contractor shall obtain locates of underground infrastructure from Ontario One Call prior to commencing an excavation or dig.

# Products

## Materials

### Comply with the requirements of OPSS.MUNI 539.05 Materials.

# EXECUTION

## OPSS.MUNI 539.07 is amended as follows:

The first sentence of 539.07.02 -Removal of Protection Systems is deleted and replaced by the following:

Protection systems shall be removed from the right-of-way, unless it is specified in the Contract Documents, or with the approval of the Consultant that the protection system may be left in place.

END OF SECTION